## baseline
Asia vs US West Coast
Heading | Value | Float | CAPEX | Increases | Decreases | Percentage
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 378.17 | 2202.08 |  | 378.17
Material Cost | 237.46 | 2580.25 |  | 237.46
Factory Cost | 105.68 | 2817.71 |  | 105.68
Tranpsortation Cost | 661 | 2262.39 |  |  | 661
West Coast CAPEX w/o Bonus |  | 2262.39
Bonus - Domestic Content | 221.447 | 2040.943 |  |  | 221.447
West Coast CAPEX |  | 2040.943
CA cost w/o domestic content | 2214.47
Domestic content bonus | 221.447
Asia vs CA
Heading | Value | Float | CAPEX | Increases | Decreases | Percentage
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 453.81 | 2202.08 |  | 453.81
Material Cost | 237.46 | 2655.89 |  | 237.46
Factory Cost | 108.76 | 2893.35 |  | 108.76
Tranpsortation Cost | 662.42 | 2339.69 |  |  | 662.42
CA CAPEX w/o Bonus |  | 2339.69
Bonus - Domestic Content | 233.968 | 2105.722 |  |  | 233.968
CA CAPEX |  | 2105.722
CA cost w/o domestic content | 2339.68
Domestic content bonus | 233.968
Asia vs CRB
Heading | Value | Float | CAPEX | Increases | Decreases | Percentage
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 302.54 | 2202.08 |  | 302.54
Material Cost | 237.46 | 2504.62 |  | 237.46
Factory Cost | 102.6 | 2742.08 |  | 102.6
Tranpsortation Cost | 659.57 | 2185.11 |  |  | 659.57
CRB CAPEX w/o Bonus |  | 2185.11
Bonus - Domestic Content | 218.511 | 1966.599 |  |  | 218.511
CRB CAPEX |  | 1966.599
CA cost w/o domestic content | 2185.11
Domestic content bonus | 218.511

## baseline (experimental)
Asia vs US West Coast
Heading | Value | Float | CAPEX | Increases | Decreases | Percentage
SE Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 378.17 | 2202.08 |  | 378.17
Material Cost | 237.46 | 2580.25 |  | 237.46
Factory Cost | 105.68 | 2817.71 |  | 105.68
Tranpsortation Cost | 661 | 2262.39 |  |  | 661
West Coast CAPEX w/o Bonus |  | 2262.39
Bonus - Domestic Content | 226.24 | 2036.15 |  |  | 226.24
West Coast CAPEX |  | 2036.15
CA cost w/o domestic content | 2262.4
Domestic content bonus | 226.24
Asia vs CA
Heading | Value | Float | CAPEX | Increases | Decreases | Percentage
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 370.61 | 2202.08 |  | 370.61
Material Cost | 237.46 | 2572.69 |  | 237.46
Factory Cost | 105.37 | 2810.15 |  | 105.37
Tranpsortation Cost | 662.42 | 2253.1 |  |  | 662.42
CA CAPEX w/o Bonus |  | 2253.1
Bonus - Domestic Content | 225.31 | 2027.79 |  |  | 225.31
CA CAPEX |  | 2027.79
CA cost w/o domestic content | 2253.1
Domestic content bonus | 225.31
Asia vs CRB
Heading | Value | Float | CAPEX | Increases | Decreases | Percentage
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 385.74 | 2202.08 |  | 385.74
Material Cost | 237.46 | 2587.82 |  | 237.46
Factory Cost | 105.99 | 2825.28 |  | 105.99
Tranpsortation Cost | 659.57 | 2271.7 |  |  | 659.57
CRB CAPEX w/o Bonus |  | 2271.7
Bonus - Domestic Content | 227.17 | 2044.53 |  |  | 227.17
CRB CAPEX |  | 2044.53
CA cost w/o domestic content | 2271.7
Domestic content bonus | 227.17

## breakdown pie chart
asia |  | US |  | domestic content
labor | 378.18 | labor | 831.99 | 748.791
material | 1087.57 | material | 1321.98 | 1189.782
factory | 0 | factory | 104.37 | 93.933
transportation | 708.92 | transportation | 46.5 | 41.85

## steel (old)
Heading | Value | Float | CAPEX | Increases | Decreases
Asia | 2174.66 |  | 2174.66
Labor Cost | 453.81 | 2174.66 |  | 453.81
Material Cost | 234.41 | 2628.47 |  | 234.41
Factory Cost | 104.37 | 2862.88 |  | 104.37
Tranpsortation Cost offset | 662.42 | 2304.83 |  |  | 662.42
CAPEX unsubsidized w/o tariffs |  | 2304.83
Domestic content bonus | 230.434 | 2074.396 |  |  | 230.434
CAPEX subsidized w/o tariffs |  | 2074.396
Steel tariff
CAPEX subsidized w/ tariffs | [5 empty] | Looking at two scenarios: 1) US Steel w/ domestic content 2) Imported steel w/o domestic content benefits
CA cost w/o domestic content | 2304.34
Domestic content bonus | 230.434
CA cost w tariff w/o domestic content | 2074
domestic content bonus | 207.4

## steel (new)
Asia vs CA
Heading | Value | Float | CAPEX | Increases | Decreases | Steel tariff
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 453.81 | 2202.08 |  | 453.81
Material Cost | 237.46 | 2655.89 |  | 237.46 |  | 202.89
Factory Cost | 108.76 | 2893.35 |  | 108.76 |  | 4.76
Tranpsortation Cost | 662.42 | 2339.69 |  |  | 662.42
CA CAPEX |  | 2339.69
Steel Tariff | 207.65 | 2339.69 |  | 207.65
CA CAPEX w/ Tariff |  | 2547.34
Asia vs CRB
Heading | Value | Float | CAPEX | Increases | Decreases | Steel tariff
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 302.54 | 2202.08 |  | 302.54
Material Cost | 237.46 | 2504.62 |  | 237.46 |  | 202.89
Factory Cost | 102.6 | 2742.08 |  | 102.6 |  | 4.76
Tranpsortation Cost | 659.57 | 2185.11 |  |  | 659.57
CRB CAPEX |  | 2185.11
Steel Tariff | 207.65 | 2185.11 |  | 207.65
CRB CAPEX w/ Tariff |  | 2392.76

## steel (experimental)
Asia vs US West Coast
Heading | Value | Float | CAPEX | Increases | Decreases | Steel tariff
SE Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 378.17 | 2202.08 |  | 378.17
Material Cost | 237.46 | 2580.25 |  | 237.46 |  | 202.89
Factory Cost | 105.68 | 2817.71 |  | 105.68 |  | 4.76
Tranpsortation Cost | 661 | 2262.39 |  |  | 661
West Coast CAPEX |  | 2262.39
Steel Tariff | 207.65 | 2262.39 |  | 207.65
West Coast CAPEX w/ Tariff |  | 2470.04
Asia vs CA
Heading | Value | Float | CAPEX | Increases | Decreases | Steel tariff
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 370.61 | 2202.08 |  | 370.61
Material Cost | 237.46 | 2572.69 |  | 237.46 |  | 202.89
Factory Cost | 105.37 | 2810.15 |  | 105.37 |  | 4.76
Tranpsortation Cost | 662.42 | 2253.1 |  |  | 662.42
CA CAPEX |  | 2253.1
Steel Tariff | 207.65 | 2253.1 |  | 207.65
CA CAPEX w/ Tariff |  | 2460.75
Asia vs CRB
Heading | Value | Float | CAPEX | Increases | Decreases | Steel tariff
Asia CAPEX | 2202.08 |  | 2202.08
Labor Cost | 302.54 | 2202.08 |  | 302.54
Material Cost | 237.46 | 2504.62 |  | 237.46 |  | 202.89
Factory Cost | 102.6 | 2742.08 |  | 102.6 |  | 4.76
Tranpsortation Cost | 659.57 | 2185.11 |  |  | 659.57
CRB CAPEX |  | 2185.11
Steel Tariff | 207.65 | 2185.11 |  | 207.65
CRB CAPEX w/ Tariff |  | 2392.76

## Sheet7
Asia
Component | Cost per kW | Labor % | Material % | Labor S.F. | Material S.F. | Subtotal ($ million) | Cost per unit ($ million) | Total number | Number per trip | Number of trips | Total Transport Cost | Factory amortization premium (%) | Factory amortization cost ($ millions) | Total | Factory amortization premium (%) | Factory amortization cost ($ millions) | Total | Emissions (ton)
Blade | 331.5 | 15.6% | 72.4% | 0.5 | 1 | 267.19 | 1.33 | 201 | 12 | 17 | 113.2 |  | $- | 380.39 |  | $- |  | 112133.83
Nacelle | 443.8 | 27.6% | 61.6% | 0.5 | 1 | 336.3 | 5.02 | 67 | 6 | 12 | 80.2 |  | $- | 416.5 |  | $- |  | 79153.29
Tower | 293 | 33.3% | 57.4% | 0.5 | 0.67 | 162.27 | 2.42 | 67 | 5 | 14 | 93.4 |  | $- | 255.67 |  | $- |  | 92345.5
Floating platform subassembly | 618.1 | 32.4% | 58.3% | 0.5 | 0.67 | 343.28 | 5.12 | 67 | 2 | 34 | 225.4 |  | $- | 568.68 |  | $- |  | 224267.65
Floating plaform final assembly | 154.5 | 100% | 0% | 0.5 | 1 | 77.64 | 1.16 | 67 |  |  | $- |  | $- | 77.64 |  | $- |  | 0
Mooring rope | 23.2 | 17.5% | 74.6% | 0.5 | 1 | 19.43 | 0.1 | 6608.1846 | 10000 | 1 | 7.6 |  | $- | 27.03 |  | $- |  | 6596.11
Mooring chain | 115.9 | 19.4% | 69.1% | 0.5 | 0.67 | 65.23 | 0.54 | 45044.4739 | 10000 | 5 | 34 |  | $- | 99.23 |  | $- |  | 32980.54
Anchor | 29.7 | 23.4% | 66.3% | 0.5 | 0.67 | 16.75 | 0.08 | 201 | 15 | 14 | 93.4 |  | $- | 110.15 |  | $- |  | 92345.5
Substation | 139 | 44.1% | 32.1% | 0.5 | 0.67 | 60.85 | 30.42 | 2 | 1 | 2 | 14.2 |  | $- | 75.05 |  | $- |  | 13192.21
Dynamic export cable | 136 | 16.7% | 75.9% | 0.5 | 0.9 | 104.78 | 0.52 | 18000 | 13000 | 2 | 31.68 |  | $- | 136.46 |  | $- |  | 13192.21
Dynamic array cable | 51.2 | 16.7% | 16.7% | 0.5 | 0.9 | 12.03 | 0.11 | 4556 | 13000 | 1 | 15.84 |  | $- | 27.87 |  | $- |  | 6596.11
Baseline cost | 2335.9 |  |  | 378.18 | 1087.57 | 1465.74 |  |  |  |  | 708.92 |  | $- | 2174.66 |  | $- |  | 672802.96
CA
Component | Cost per kW | Labor % | Material % | Labor S.F. | Material S.F. | Subtotal ($ million) | Cost per unit ($ million) | Total number | Number per trip | Number of trips | Total Transport Cost | Factory amortization premium (%) | Factory amortization cost ($ millions) | Total | Factory amortization premium (%) | Factory amortization cost ($ millions) | Total | Emissions (ton)
Blade | 331.5 | 15.6% | 72.4% | 1.1 | 1 | 298.3759 | 1.4845 | 201 | 12 | 17 | 6.1 | 9.3% | 27.75 | 326.12 | 10% | 29.84 | 328.21 | 5096.99
Nacelle | 443.8 | 27.6% | 61.6% | 1.1 | 1 | 410.1591 | 6.1218 | 67 | 6 | 12 | 4.6 | 5.4% | 22.15 | 432.31 | 6% | 24.61 | 434.77 | 3597.88
Tower | 293 | 33.3% | 57.4% | 1.1 | 1 | 276.8854 | 4.1326 | 67 | 5 | 14 | 5.2 | 7% | 19.38 | 296.27 | 7.7% | 21.32 | 298.21 | 4197.52
Floating platform subassembly | 618.1 | 32.4% | 58.3% | 1.1 | 1 | 583.5464 | 8.7096 | 67 | 2 | 34 | 11.2 |  | $- | 583.55 |  | $- | 583.55 | 10193.98
Floating plaform final assembly | 154.5 | 100% | 0% | 1.1 | 1 | 170.7997 | 2.5492 | 67 |  |  | 1 | 4.2% | 7.17 | 177.97 | 4.2% | 7.17 | 177.97 | 0
Mooring rope | 23.2 | 17.5% | 74.6% | 1.1 | 1 | 21.8821 | 0.10887 | 6608.1846 | 10000 | 1 | 1.3 | 4.5% | 0.98 | 22.87 | 4.5% | 0.98 | 22.87 | 299.82
Mooring chain | 115.9 | 19.4% | 69.1% | 1.1 | 1 | 105.3441 | 0.8735 | 45044.4739 | 10000 | 5 | 2.5 | 5% | 5.27 | 110.61 | 5% | 5.27 | 110.61 | 1499.12
Anchor | 29.7 | 23.4% | 66.3% | 1.1 | 1 | 27.4726 | 0.13668 | 201 | 15 | 14 | 5.2 | 0% | $- | 27.47 | 0% | $- | 27.47 | 4197.52
Substation | 139 | 44.1% | 32.1% | 1.1 | 1 | 112.6081 | 56.3041 | 2 | 1 | 2 | 1.6 | 0% | $- | 112.61 | 0% | $- | 112.61 | 599.65
Dynamic export cable | 136 | 16.7% | 75.9% | 1.1 | 1 | 128.8482 | 0.64424 | 18000 | 13000 | 2 | 1.6 | 14.8% | 19.07 | 147.92 | 14.8% | 19.07 | 147.92 | 599.65
Dynamic array cable | 51.2 | 16.7% | 16.7% | 1.1 | 1 | 18.0456 | 0.16834 | 4556 | 13000 | 1 | 1.3 | 14.4% | 2.6 | 20.64 | 14.4% | 2.6 | 20.64 | 299.82
Baseline cost | 2335.9 |  |  | 831.99 | 1321.98 | 2153.97 |  |  |  |  | 41.6 |  | 104.37 | 2304.84 |  | 110.86 | 2311.32 | 30581.95
[11 empty] | 46.5 | [6 empty] | 35475.07
CA
Component | Cost per kW | Labor % | Material % | Labor S.F. | Material S.F. | Subtotal ($ million) | Cost per unit ($ million) | Total number | Number per trip | Number of trips | Total Transport Cost | Factory amortization premium (%) | Factory amortization cost ($ millions) | Total | Factory amortization premium (%) | Factory amortization cost ($ millions) | Total | Emissions (ton)
Blade | 331.5 | 15.6% | 72.4% | 1.1 | 1 | 298.3759 | 1.4845 | 201 | 12 | 17 | 6.1 | 9.3% | 27.75 | 326.12 | 10% | 29.84 | 328.21 | 5096.99
Nacelle | 443.8 | 27.6% | 61.6% | 1.1 | 1 | 410.1591 | 6.1218 | 67 | 6 | 12 | 4.6 | 5.4% | 22.15 | 432.31 | 6% | 24.61 | 434.77 | 3597.88
Tower | 293 | 33.3% | 57.4% | 1.1 | 1.3 | 327.5923 | 4.8894 | 67 | 5 | 14 | 5.2 | 7% | 22.93 | 350.52 | 7.7% | 25.22 | 352.82 | 4197.52
Floating platform subassembly | 618.1 | 32.4% | 58.3% | 1.1 | 1.3 | 692.1926 | 10.3312 | 67 | 2 | 34 | 11.2 |  | $- | 692.19 |  | $- | 692.19 | 10193.98
Floating plaform final assembly | 154.5 | 100% | 0% | 1.1 | 1 | 170.7997 | 2.5492 | 67 |  |  | 1 | 4.2% | 7.17 | 177.97 | 4.2% | 7.17 | 177.97 | 0
Mooring rope | 23.2 | 17.5% | 74.6% | 1.1 | 1 | 21.8821 | 0.10887 | 6608.1846 | 10000 | 1 | 1.3 | 4.5% | 0.98 | 22.87 | 4.5% | 0.98 | 22.87 | 299.82
Mooring chain | 115.9 | 19.4% | 69.1% | 1.1 | 1.3 | 129.4903 | 1.0737 | 45044.4739 | 10000 | 5 | 2.5 | 5% | 6.47 | 135.96 | 5% | 6.47 | 135.96 | 1499.12
Anchor | 29.7 | 23.4% | 66.3% | 1.1 | 1.3 | 33.4094 | 0.16622 | 201 | 15 | 14 | 5.2 | 0% | $- | 33.41 | 0% | $- | 33.41 | 4197.52
Substation | 139 | 44.1% | 32.1% | 1.1 | 1.3 | 126.0608 | 63.0304 | 2 | 1 | 2 | 1.6 | 0% | $- | 126.06 | 0% | $- | 126.06 | 599.65
Dynamic export cable | 136 | 16.7% | 75.9% | 1.1 | 1 | 128.8482 | 0.64424 | 18000 | 13000 | 2 | 1.6 | 14.8% | 19.07 | 147.92 | 14.8% | 19.07 | 147.92 | 599.65
Dynamic array cable | 51.2 | 16.7% | 16.7% | 1.1 | 1 | 18.0456 | 0.16834 | 4556 | 13000 | 1 | 1.3 | 14.4% | 2.6 | 20.64 | 14.4% | 2.6 | 20.64 | 299.82
Baseline cost | 2335.9 |  |  | 831.99 | 1524.87 | 2356.86 |  |  |  |  | 41.6 |  | 109.13 | 2512.48 |  | 115.97 | 2519.32 | 30581.95
[11 empty] | 46.5 | [6 empty] | 35475.07
Asia |  |  |  | 378.18 | 1087.57 | [5 empty] | 708.92 |  | 0 |  |  | 0
CA |  |  |  | 831.99 | 1321.98 | [5 empty] | 46.5 |  | 104.37 |  |  | 110.86
CA w/ tariff |  |  |  | 831.99 | 1524.87 | [5 empty] | 46.5 |  | 109.13 |  |  | 115.97
|  |  |  | 453.81 | 234.41 | [5 empty] | -662.42 |  | 104.37 |  |  | 110.86
|  |  |  | 0 | 202.89 | [5 empty] | 0 |  | 4.76 |  |  | 5.11

## IRA
| Base | Labor | Material | Factory | Transportation | Increase | Decrease | Other
Asia | 2174.66
Labor Cost | 2174.66 | 454
Material Cost | 2628.66 |  | 234
Factory Cost | 2862.66 |  |  | 104 |  | 7
Transportation | 2311.66 | [5 empty] | 662
Domestic Content | 2080.66 | [5 empty] | 231
West Coast Capital Cost | 2080.66
CA cost w/o domestic content | 2311
Domestic content bonus | 231.1

## Labor
| Base | Labor | Material | Factory | Transportation | Increase | Decrease
SE Asia CAPEX | 2202.08
Labor Cost | 2202.08 | 378 |  |  |  | 417.43
Material Cost | 2997.51 |  | 237
Factory Cost | 3234.51 |  |  | 105.68
Transportation | 2679.19 | [5 empty] | 661
West Coast CAPEX (w/o bonus) | 2679.19
Domestic content bonus | 2411.29 | [5 empty] | 267.9
West Coast CAPEX | 2411.29
CA cost w/o domestic content | 2679
Domestic content bonus | 267.9

## domestic_content
scenario | value
SE Asia Manufacturing Cost | 2216.36
Labor Differences | 378.18
Material Differences | 223.18
New US Factory Amortization | 106
Trans-Pacific Component Transportation | -661
WC CAPEX w/o Bonus | 2262.72
Domestic Content Bonus | -226.272
West Coast Manufacturing Cost | 2036.448

## steel_tariff
scenario | value
SE Asia Manufacturing Cost | 2216.36
Labor Differences | 378.18
Material Differences | 223.18
New US Factory Amortization | 106
Steel Tariff (Section 232) | -661
WC CAPEX w/o Bonus | 2262.72
Trans-Pacific Component Transportation | 202.89
West Coast Manufacturing Cost | 2465.61
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Switched this with A8 for code

## py_capex
scenario | value
SE Asia CAPEX | 2202
Labor Cost | 2580
Material Cost | 2817
Factory Cost | 2923
Transportation Cost | 2262
West Coast CAPEX w/o Bonus | 2262
Bonus - Domestic Content | 2036
West Coast CAPEX | 2036